| MEMO | Department of Place Building Control Britannia House Hall Ings Bradford BD1 1HX From: Martin Lumb Tel: (01274) 433740 My Ref: D/TDP/3100/ML Your Ref: 21/06173/FUL Date: 21 December 2021 |
| --- | --- |
| To: Development Services Fao: To Be Assigned To An Officer |  |

TOWN PLANNING APPLICATION NO.  21/06173/FUL

PROPOSAL.  Conversion of an existing permanent stable building into a dwelling house with a detached timber carport, garden store and associated gardens.

LOCATION.  The Stables Off Ben Rhydding Drive Ilkley West Yorkshire LS29 8BD

With reference to the above application I list below the drainage conditions which are appropriate.

DR06 – Details of percolation tests and soakaways required.

The surface water drainage works shall not commence until the results of ground percolation tests and subsequent design details of the proposed soakaways serving the development have been submitted to, and subsequently approved in writing by the Local Planning Authority. Percolation tests and soakaway design shall be conducted in accordance with Building Research Establishment Digest No 365. The development shall thereafter only proceed in strict accordance with the approved soakaway drainage details.

Reason: In the interests of the amenity of future occupiers, pollution prevention and the effective management of flood risk and to accord with Policies DS5, EN7 and EN8 of the Core Strategy Development Plan Document.

I note the proposal to drain foul water from the development to an existing private combined sewer located in the unadopted access road, this proposal is acceptable subject to the developer providing survey details of the existing sewer to demonstrate it is hydraulically & structurally suitable to drain the proposal.